## Project Information
High water use application
v1.1 December 2025
This information enables to undertake a servicing assessment for the development proposal. It will assist in assessing the capacity of our existing infrastructure to support the proposed development and size any upgrades, if required. To enable this, please provide the following information. Where the development is staged, information should be provided for both staged and ultimate scenarios.
1.0 Application Information
Applicant
Project Name
Project Address
Water Corporation Reference
2.0 Water Supply Requirements
Peak Instantaneous Demand |  | l/s
Average Demand |  | l/s
Supply type required?
If single supply, how will redundancy to the site be provided in the event of a water outage?
Is recycled water a suitable supply source?
Fire Sprinker demand |  | l/s
Fire Hydrant demand |  | l/s
Total Fire Demand | 0 | l/s
Will general demands continue during a fire scenario? |  |  | As an example, some large sites may have cooling towers continue to operate during a fire which impacts on the ability for the fire systems to also draw water from the system if not adequately accounted for
3.0 Sewer Requirements
Please enter one of the following items:
% of flows returned to sewer |  | %
peak sewer flows |  | l/s
Details of sewer discharge |  |  |  | Provide high level overview of the source of the sewer discharge
(eg general facilities, cooling towers, industrial waste etc)
4.0 Project Details
Development Stage | Expansion of existing site
Commentary
The ability to supply large water volumes changes year on year so an understanding of long term demand is important in offering a reliable service
Development Stage | Financial Year | Annual water usage (ML)
Year 1
Year 2
Year 3
Year 4
Year 5
Year 6
Year 7
Year 8
Year 9
Year 10
Ultimate (if it's greater than Year 10)
Data Centre specific details
If the application is in relation to a data centre, please provide the following information:
Water cooling technology |  |  |  | (Specify the cooling system type (e.g., evaporative, hybrid, liquid)
Water Use Efficiency (L/kWh) |  |  |  | (expected water consumption per unit of IT Load (L/kWh) based on the selected cooling technology)
On-site Storage possible/available to reduce peak demand |  |  |  | Describe any on-site water storage provisions, and intended use (e.g., cooling system make-up, fire protection)
Commentary
5.0 Detailed Water Use
A detailed diurnal profile of water use on site is required for a peak day
A peak day is the maximum water use expected (eg water use on hottest day expected)
The demand should reflect expected demand from GWW's street mains, not internal use after buffering of internal tanks or other internal infrastructure
Paek Day Hourly Demand | Day 1 Water Use |  | Stage 1 (if applicable) |  | Stage 2 (if applicable) |  | Ultimate
|  |  | Year |  | Year |  | Year
Data Centre specific data | Size (MW) |  | Size (MW) |  | Size (MW) |  | Size (MW)
Hour | Water (l/s) | Sewer (l/s) | Water (l/s) | Sewer (l/s) | Water (l/s) | Sewer (l/s) | Water (l/s) | Sewer (l/s)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Peak Hour Flow (l/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak Day volume (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
The annual water use profile is important to design water supply systems
Month | Day 1 Water Use |  | Stage 1 (if applicable) |  | Stage 2 (if applicable) |  | Ultimate
|  |  | Year |  | Year |  | Year
| Water | Sewer | Water | Sewer | Water | Sewer | Water | Sewer
| kL/month | kL/month | kL/month | kL/month | kL/month | kL/month | kL/month | kL/month
January
February
March
April
May
June
July
August
September
October
November
December
Annual Total (ML/year) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on D66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: They might have more than 2 stages. Should we replace Stage 1 with 50% development and Stage 2 with 100% development?
Note on D99: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: same comment as above

## Dropdowns
Single Supply | Yes | l/s | 2025 | Expansion of existing site
Alternate Supply | No | ML/d | 2026 | Construction to service existing contracts
|  |  | 2027 | New site
|  |  | 2028 | Land development
|  |  | 2029 | Other
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045